# IODINATION CHECK LIST

Iodinator:       	Dept:

Permit Holder:      	 125I  131I  Other:

Activity:      	 Ci  mCi	Time/Date:

## RADIATION SAFETY PRECAUTIONS

- Lab Coat:	 Yes	 No

- Double Gloves:	 Yes	 No

- Safety Glasses:	 Yes	 No

- Charcoal-Filtered Fume Hood “On”:	 Yes	 No

- Spill Tray:	 Yes	 No

- Film Badge and Ring:	 Yes	 No	  NA

- Other Precautions:

## SURVEYS

NOTE: A GM with a sodium iodide probe MUST be used for all direct radiation surveys.

### Pre-Iodination Direct Radiation Survey:  cpm  mR/hr (Check one)

- Background:

- Floor in Front of Hood:

- Sash:

- Hands with Clean Gloves:

- Lab Coat and Arms:

### Post-Iodination Surveys (Direct and Wipe)

Direct Survey:  cpm  mR/hr (Check one)

- Background:

- Floor in Front of Hood:

- Sash:

- Hands with Clean Gloves:

- Lab Coat and Arms:

### Wipe Survey

Areas to be wiped include: Sash of Hood (1), Lip of Hood (2), and Floor in Front of Hood (3). Include a background wipe (4) when counting and attach the results to the reverse of this form. The wipe results must be less than 200 cpm/100 cm2.